GUIDELINES FOR WORK WITH BIOLOGICAL MATERIALS, INFECTIOUS AGENTS OR GENETICALLY MODIFIED ORGANISMS

Agreed ACDP

Hazard Group 1- 4, Schedule 5

Group 1

Group 2

Group 3, 4,

& Schedule 5

Infectious Agents

GMO

Inform HoS, SSC and local BSO and Univ. BSO.

Univ. BSO to inform BIAAC. Permission MUST be obtained from BIAAC before proceeding with the project.

Infectious Agent

GMO

Complete COSHH Risk Assessment   
See Guidelines.

Inform Line manager etc as per Gp1.

Legal requirement for GMO contained use application:

(link HSENI HSE)

(see HSE Guidance)

Obtain authorisation from appropriate management before commencing project.

Start the authorisation process by informing your Supervisor, PI, CD or HoS as appropriate and SC & local BSO. Await decision of BIAAC GM Standing Sub Group before commencing project. Complete GMO Risk Assessment (see Guidelines) and inform Univ. BSO.

Obtain authorisation from appropriate management before commencing project.

Start the authorisation process by informing your Supervisor, PI, CD or HoS as appropriate and SC & local BSO. Await decision of BIAAC GM Standing Sub Group before commencing project. Complete GMO Risk Assessment (see Guidelines) and inform Univ. BSO.

Complete COSHH Risk Assessment

See Guidelines.
Inform Line manager (Supervisor, PI etc) School SC, local BSO &

and Univ. BSO

Infectious Agents

Guidelines

Do you need to be immunised? e.g. Hepatitis? Contact the Occupational Health Service. COSHH Supervisor to be informed.

Immunisation required?

Respiratory / Aerosol risk?

YES

NO

Work with respiratory pathogens must be carried out under negative pressure (e.g. Class II Biological Safety Cabinet)

If an autoclave facility is available procedures for disposal of Cat 2 waste must be used.